DESIGN HISTORY FILE (DHF) MASTER INDEX TEMPLATE

Design Controls Compliance Dossier
FDA 21 CFR 820.30 | ISO 13485:2016 Clause 7.3 | CDSCO MDR 2017

| Device Project / Brand Name: | [Enter Project Name] | DHF Reference Number: | DHF-XXXX-YYYY |
| --- | --- | --- | --- |
| Device Classification: | ☐ Class A ☐ Class B ☐ Class C ☐ Class D | FDA Product Code / Regulation: | [e.g., 21 CFR 882] |
| Current Project Phase: | ☐ Design Input ☐ Verification ☐ Validation | DHF Master Revision Status: | Rev 1.0 (Active Template) |

1. Document Purpose and Control Strategy

This Design History File (DHF) compilation acts as the master regulatory repository demonstrating that the design of the medical device followed an approved design plan, rigorous specifications tracing, and met all harmonized safety profiles. This structure fulfills the compliance criteria of FDA 21 CFR 820.30 (Design Controls), ISO 13485 Clause 7.3, and CDSCO Medical Devices Rules 2017. All technical files linked herein are revision-controlled under corporate quality procedures.

2. Master DHF Element Log and Lifecycle Index

| Design Phase / Control Element | Required Technical Deliverable | Document Number / Reference | Current Revision Status | Approval / Sign-off Date |
| --- | --- | --- | --- | --- |
| 1. Design and Development Planning | Design & Development Plan (DDP), Project Milestone Timeline, Cross-Functional Team Matrix. | [DOC-DDP-001] | [Rev X.X] | [DD-MMM-YYYY] |
| 2. Design Inputs | Product User Requirements Specification (URS), System / Hardware / Software Functional Requirements Document. | [DOC-INP-002] | [Rev X.X] | [DD-MMM-YYYY] |
| 3. Design Outputs | Engineering Drawings, CAD Files, Bill of Materials (BOM), Finished Product Specifications, Software Source Code Repositories. | [DOC-OUT-003] | [Rev X.X] | [DD-MMM-YYYY] |
| 4. Design Reviews | Formal Design Review Protocols, Action Item Trackers, Minutes of Review Meetings for Plan/Input/Output/Verification/Validation stages. | [DOC-REV-004] | [Rev X.X] | [DD-MMM-YYYY] |
| 5. Design Verification | Biocompatibility Protocols/Reports (ISO 10993), Electrical Safety/EMC Test Reports (IEC 60601), Mechanical Bench Test Reports. | [DOC-VER-005] | [Rev X.X] | [DD-MMM-YYYY] |
| 6. Design Validation | Human Factors & Usability Engineering Report (IEC 62366), Pre-clinical / Animal Evaluation, Clinical Evaluation Report (CER). | [DOC-VAL-006] | [Rev X.X] | [DD-MMM-YYYY] |
| 7. Risk Management File | Risk Management Plan, Hazard Analysis, Design FMEA (DFMEA), Process FMEA (PFMEA), Risk Management Report (ISO 14971). | [DOC-RSK-007] | [Rev X.X] | [DD-MMM-YYYY] |
| 8. Design Transfer | Design Transfer Plan, Manufacturing Process Flowcharts, Master Device History Record (DHR) Baseline, DMR Index. | [DOC-XFR-008] | [Rev X.X] | [DD-MMM-YYYY] |
| 9. Traceability Matrix | Comprehensive Traceability Matrix mapping: User Needs ➔ Design Inputs ➔ Design Outputs ➔ Design Verification ➔ Design Validation. | [DOC-TRC-009] | [Rev X.X] | [DD-MMM-YYYY] |
| 10. Software Lifecycle Documentation | Software Development Plan, Software Architecture, Software V&V Reports, Cybersecurity Assessment (IEC 62304). | [DOC-SW-010] | [Rev X.X] | [DD-MMM-YYYY] |

3. Design Input and Traceability Guidelines

As a Regulatory Affairs Specialist, ensure that every User Need documented in this DHF translates into a quantifiable and verifiable Design Input. Vague statements like 'device must be lightweight' or 'must be easy to use' are completely un-auditable. Instead, translate these into engineering terms, such as: 'The maximum total weight of the handheld sub-assembly shall not exceed 1.5 kg' or 'The user interface setup shall comply with IEC 62366-1 usability profiles with zero critical use errors during simulated trials.'

3.1. Traceability Mapping Structure

The standard design control logic is modeled below to ensure zero traceability gaps during regulatory audit review:

Traceability Path: User Need (UN) ➔ Design Input (DI) ➔ Design Output (DO) ➔ Design Verification (VER) ➔ Design Validation (VAL)

4. Master DHF Approval and Phase Closure Sign-off

| Role / Department | Name & Title | Digital Signature / Approval | Date Signed |
| --- | --- | --- | --- |
| Design / R&D Engineering Lead | [Enter Engineer Name] | [Approve Design Baseline] | [Date] |
| Regulatory Affairs Specialist | [Enter RA Specialist Name] | [Approve Market Readiness] | [Date] |
| Quality Assurance (QA) Director | [Enter QA Director Name] | [Final Case File Authorization] | [Date] |