INSTRUCTIONS FOR USE (IFU) TEMPLATE

Standard Corporate Quality Management System Document
Document ID: QMS-IFU-XXXX | Revision: [X.X]

| Device/System Family: | [Enter Medical Device Family Name] | Document Ref #: | IFU-XXX-YYYY |
| --- | --- | --- | --- |
| Regulatory Scope: | ☐ Class A ☐ Class B ☐ Class C ☐ Class D | Sterility Status: | ☐ Sterile (ETO) ☐ Non-Sterile |

DEVICE DESCRIPTION

[Provide an overall comprehensive statement describing the system/implants. Outline what components, fixation options, or variants are available within the individually packaged sterile system family. E.g., This system involves the use of individually packaged arthroscopic implants, fixation screws, anchors, washers, and specialized suture/tape materials.]

[Detail the materials of construction. E.g., All implantable components are fabricated from Surgical Grade Titanium Alloy / Stainless Steel / PEEK and/or high-strength fibre suture elements, as applicable to the designated product code.]

[List specific implant family sub-groups, such as interference screws, adjustable button loops, staples, or washers].• Fixation / Anchor Components:

[List soft-tissue elements, such as specific repair needles, high-strength structural tapes, or pre-loaded fiber assemblies].• Suture / Soft Tissue Repair Components:

INTENDED USE / PERFORMANCE

[State the clear intended clinical purpose of the system. E.g., The system is intended for use in specialized surgical procedures for the permanent or temporary fixation, stabilization, or repair of damaged cartilage, ligaments, tendons, or surrounding soft tissues within the specific anatomical joint region (e.g., knee, shoulder, or extremity reconstruction).]

[Describe clinical performance expectations. E.g., The device is intended to provide joint mechanical stability, support structural soft tissue healing, and mitigate localized pain metrics by repairing broken or structurally deficient soft tissue architectures where there is sufficient sound bone stock and surrounding native tissue to support the fixation anchors.]

INDICATIONS FOR USE

The device system family is indicated for the following specific clinical manifestations:

Damaged or torn structural soft tissue architectures, including ligaments, tendons, cartilage matrices, or joint capsule structures within the target anatomy.

Acute or chronic localized joint instability requiring dense mechanical ligament/tendon reconstruction or direct anchor fixation.

Specific tear modalities (e.g., structural ligament avulsions, partial or complete meniscal/labral tears) requiring specialized repair assemblies.

The device implants are designated for SINGLE USE ONLY. They must be handled and deployed strictly according to the validated surgical technique manual by a qualified, board-certified orthopedic or specialized surgeon.NOTE:

CONTRAINDICATIONS

The presence of any of the following clinical conditions constitutes a strict contraindication for product deployment:

Active local, systemic, or regional infectious manifestations at or adjacent to the target surgical site.

Compromised or poor native bone quality (e.g., advanced osteoporosis, extreme osteopenia, or local cystic formations) where secure, stable mechanical fixation of the implant anchor cannot be achieved.

Inadequate bone volume/stock, vascularity, or local native soft tissue thickness/condition to structurally support or anchor the device profile.

Known systemic neuromuscular disorders or progressive peripheral vascular disease in the affected limb, which severely compromises post-operative healing or long-term procedural success.

Known hyper-sensitivity, chemical incompatibility, or documented allergic immune reactions to the raw materials used in the implant structure (e.g., Titanium alloys, Stainless steel, PEEK polymer, or polymer-based fibre suture matrices).

Severe, advanced multi-compartmental joint degeneration where simple arthroscopic structural repair or focal fixation yields no proven clinical benefit.

Patients unable or non-compliant with strict post-operative physical rehabilitation frameworks, loading parameters, or activity constraints.

Uncontrolled metabolic disorders such as diabetes mellitus do not present an absolute contraindication. However, due to heightened clinical risks of infection, localized micro-vascular deficiencies, and delayed soft-tissue/bone healing, the attending operating physician must carefully weigh the risk-to-benefit ratio prior to device implementation.NOTE ON DIABETES:

WARNINGS & PRECAUTIONS

Implants must be deployed solely for their designated indications and handled using compatible, system-specific surgical instruments recommended by the manufacturer. Intermixing implants or trial instruments from different manufacturer lines or separate structural systems is strictly prohibited.CAUTION:

• Correct sizing selection is paramount and must be derived based on comprehensive pre-operative planning and patient-specific anatomical metrics (bone density, native tissue quality, graft volume).

• Never re-use, re-process, or re-sterilize an implant. The device is validated for Single Use Only. Even if an implant appears physically unaltered following an impact, removal, or contamination, it may possess microscopic surface fractures, crystal-lattice defects, or fatigue limits that compromise mechanical performance under physiological load.

• Do not alter, bend, cross-cut, or structurally modify the implants unless explicitly instructed within the authorized surgical technique documentation.

• Application of excessive torque or force during insertion (screwing, tapping, driving) may cause stress fractures in the bone, cross-threading, stripping of the implant drive mechanism, or immediate mechanical failure of the anchor layout.

• Inspect the packaging barrier carefully before introduction into the sterile field. Do not use if the sterile barrier system is torn, punctured, wet, faded, or past its indicated expiration date.

• DEMONSTRATION COMPONENTS: Any component laser-etched with 'DO NOT IMPLANT' or marked as a 'SAMPLE/TRIAL' is restricted to educational, review, or sizing verification use. It must never be introduced as a permanent implant into any patient.

HIGH-STRESS CONDITION PATIENT CAUTIONS

The following patient conditions tend to impose severe mechanical loading on the affected joint, placing the product layout at an elevated risk for early loosening, migration, deformation, or structural failure:

Severe patient obesity or excessive mechanical body mass index (BMI).

Occupational environments involving high-impact manual labor or heavy load bearing.

Early return to active, high-impact competitive sports or strenuous athletic performance.

Patient conditions with high baseline activity levels or progressive neuromuscular instability leading to recurrent falls/trauma.

Patient history of severe substance or alcohol addiction affecting neurological control or compliance.

Chronic systemic therapies leading to progressive structural bone or tissue degradation (e.g., long-term corticosteroid intake or immunosuppressive regimens).

Attitude or cognitive disorders resulting in the patient's failure to follow strict post-operative loading limits, causing premature joint movement and failure of graft healing.

INFORMATION FOR USE

Preoperative Phase

The surgeon must thoroughly review all physiological, physical, and cognitive boundaries specific to the patient during pre-operative consultations. Discussion must cover the physical structural limitations of the implant, the biological healing timeline of the graft/tissue, and the absolute requirement for strict compliance with specialized post-operative loading constraints.

Surgeons must not initiate clinical deployment without fully mastering the specific surgical technique, instrumentation layouts, and sizing matrices. Authorized reference brochures are available from the manufacturer.

Intraoperative Phase

It is recommended to have a comprehensive range of implant sizes accessible within the sterile suite during surgery, including one size larger and one size smaller than estimated pre-operatively, to manage unexpected intra-operative anatomical variations.

Do not use components that have suffered external impacts (e.g., dropped onto hard surfaces). Structural degradation may be hidden but can precipitate early mechanical failure.

Prior to permanent fixation, ensure the prepared bone tunnel, socket, or soft tissue landing zone is meticulously cleared of loose bone fragments, hematomas, or foreign material that could impede stable implant seating.

Before surgical closure, perform thorough irrigation to remove loose material. Verify final structural stability, correct positioning via direct visualization or fluoroscopy, appropriate graft/tissue tension, and ensure the joint maintains an acceptable range of motion without impingement.

Postoperative Phase

Provide the patient with clear, detailed, written discharge instructions concerning specialized immobilization, gradual weight-bearing restrictions, localized wound management, and targeted physical therapy exercises.

Incorporate long-term periodic clinical and radiological follow-ups to monitor joint recovery, anchor stability, and prevent sub-clinical degradation.

Counsel the patient to report any unexpected clinical shifts (e.g., sudden onset of localized pain, swelling, audible joint clicking, or structural instability) immediately to the attending physician.

RISKS OF RECIPROCAL INTERFERENCE (MRI SAFETY)

Magnetic Resonance (MR) examinations on patients with metallic or composite implants can induce localized tissue heating, torque, migration, or artifacts if safety bounds are poorly managed. Implants constructed from titanium alloys or stainless steel elements interact with strong magnetic fields. Prior to an MRI procedure, the clinical team must review the device compatibility profile against the specific field strength (e.g., 1.5T or 3.0T) and spatial field gradients of the scanner. The safety and heating of multi-component multi-implant constructs intermixed together in the MR environment has not been structurally tested and requires expert review by the imaging facility.

ADVERSE EVENTS & COMPLICATIONS

Potential adverse events and complications associated with joint arthroscopy and structural fixation include:

General: Device migration, thread stripping, early or delayed anchor loosening, structural fatigue/breakage of screw components, complete loss of graft tension or fixation security, soft tissue re-tearing, localized acute infection, tissue inflammation driven by wear debris or material hypersensitivity, and nerve damage from surgical access.

Intraoperative: Accidental bone tunnel perforation or cortical blowout during drilling, bone fracturing or fracturing of the surrounding bony shelf during device driving, structural needle/suture breakage, and severe regional vascular or neurological laceration.

Postoperative: Severe joint stiffness, localized deep vein thrombosis (DVT) or thromboembolic events, joint effusion, progressive localized bone resorption around the anchor site, and the eventual requirement for revision surgery or total device removal.

HOW SUPPLIED & WASTE MANAGEMENT

Components are supplied sterile, individually sealed within protective blisterpacks or double-pouches validated for sterile barrier maintenance. Sterilization is performed using Ethylene Oxide (ETO) or Gamma radiation as designated on the outer product log. Extract the item using sterile aseptic techniques only after final size selection is completed. Do not use if the package system is open or damaged. Any used, explanted, or soiled component must be handled as biological medical waste and processed according to the local healthcare facility's biohazard protocols.

INTERPRETATION OF STANDARD SYMBOLS

| [LOT] / LOT | Batch / Lot Number | [REF] / REF | Catalogue Number |
| --- | --- | --- | --- |
| [MFG DATE] | Date of Manufacture | [EXP / USE BY] | Expiration / Use-By Date |
| [STERILE EO] | Sterilized Using Ethylene Oxide | [② / SINGLE USE] | Do Not Reuse / Single Use Only |
| [KEEP DRY] | Keep Product Dry | [Rx ONLY] | Prescription Use Only |
| [CAUTION] | Consult Accompanying Documents | [DO NOT USE IF DAMAGED] | Do Not Use if Package is Damaged |
| [MANUFACTURER] | Legal Manufacturing Entity | [i] / CONSULT IFU | Consult Instructions for Use |