RISK MANAGEMENT FILE

[DEVICE NAME]

| Field | Details |
| --- | --- |
| Document No. | [Document Number] |
| Revision No. | [Revision Number] |
| Prepared By | [Name / Designation] |
| Reviewed By | [Name / Designation] |
| Approved By | [Name / Designation] |
| Date | [DD-MM-YYYY] |

[Manufacturer Name]

[Manufacturer Address]

### Confidentiality Statement

This document contains confidential and proprietary information belonging to [Manufacturer Name]. Except as otherwise agreed to in writing, the recipient of this document agrees to hold its contents in confidence and not to copy, disclose, or use it for any purpose other than that for which it was provided.

# Table of Contents

Confidentiality Statement	1

Table of Contents	2

1. Approval	4

Prepared By	4

Checked By	4

Approved By	4

2. Introduction	4

3. Scope	4

3.1 Introduction to the Device	4

3.2 Types of Devices and Their Applications	4

3.3 Accessories and Augments	5

3.4 Materials Considerations	5

4. Normative References	5

5. Terms and Definitions	5

6. General Requirements for Risk Management System	8

6.1 Risk Management Process	8

6.2 Management Responsibilities	8

6.3 Competence of Personnel	8

6.4 Risk Management Team	8

6.5 Risk Management Plan	8

a) Scope of Planned Risk Management Activities	9

b) Assignment of Responsibilities Across Life-Cycle Phases	9

6.6 Risk Acceptability Criteria	9

6.6.1 Consequence Severity Levels	9

6.6.2 Probability of Occurrence Levels	9

Risk Acceptability Matrix	10

Indication Criteria and Acceptance Criteria	10

6.7 Review and Verification of Risk Management Activities	10

6.8 Risk Management File	11

7. Risk Analysis	12

7.1 Risk Analysis Process	12

a) Identification and Description of Device	12

b) Introduction to the Device	12

c) Types of Device and Their Application	12

d) Accessories and Augments	12

e) Materials Considerations	12

f) Conclusion	12

8. Identification of Person(s) and Organization that Carried Out Risk Analysis	12

8.1 Scope of Risk Analysis	12

8.2 Intended Use and Reasonably Foreseeable Misuse	12

8.3 Identification of Characteristics Related to Safety	13

8.4 Identification of Hazards and Hazardous Situations	13

8.5 Risk Estimation	13

9. Risk Evaluation	13

10. Risk Control	14

10.1 Risk Control Option Analysis	14

10.2 Implementation of Risk Control Measures	14

10.3 Residual Risk Evaluation	14

10.4 Benefit-Risk Analysis	15

10.5 Risk Arising from Risk Control Measures	15

10.6 Completeness of Risk Control	15

11. Evaluation of Overall Residual Risk	15

Before Risk Control	15

After Risk Control	15

12. Risk Management Review	16

13. Production and Post-Production Activities	16

13.1 General	16

13.2 Information Collection	16

13.3 Information Review	17

13.4 Actions	17

# 1. Approval

Signing of this document indicates agreement that the Risk Management File for [Device Name] described herein has been reviewed and, where revision is required, will be duly revised and re-approved.

### Prepared By

| Name / Designation | Signature | Date |
| --- | --- | --- |

### Checked By

| Name / Designation | Signature | Date |
| --- | --- | --- |

### Approved By

| Name / Designation | Signature | Date |
| --- | --- | --- |

# 2. Introduction

This Risk Management File (RMF) has been established for [Device Name] in accordance with the requirements of ISO 14971, the internationally recognized standard for the application of risk management to medical devices. This document describes the systematic process used to identify hazards associated with the device, estimate and evaluate the associated risks, control those risks, and monitor the effectiveness of the controls throughout the product life cycle.

[Template guidance: Replace the bracketed text with an introduction specific to the device family being assessed, referencing the applicable regulatory framework(s).]

# 3. Scope

This Risk Management File applies to [Device Name / Device Family], covering all life-cycle phases from design and development through manufacture, distribution, use, and disposal.

## 3.1 Introduction to the Device

[Provide a general description of the device: what it is, its general design concept, and the clinical or functional need it addresses.]

## 3.2 Types of Devices and Their Applications

[List the variants, sizes, or configurations covered under this file and describe the clinical application of each.]

- [Variant / Type 1 – application]

- [Variant / Type 2 – application]

## 3.3 Accessories and Augments

[List any accessories, instruments, or ancillary components supplied or used with the device, and their function.]

## 3.4 Materials Considerations

[List the materials of construction and note any relevant biocompatibility, chemical, or mechanical considerations.]

# 4. Normative References

ISO 14971 – Medical devices — Application of risk management to medical devices

[Template guidance: Add any additional device-specific standards applicable to the product (e.g., biocompatibility, sterilization, mechanical performance standards).]

# 5. Terms and Definitions

For the purposes of this document, the following terms and definitions apply:

Accompanying Document

Document accompanying a medical device and containing information for the user or those responsible for installation, use, maintenance, or disposal, particularly regarding safe use.

Benefit

Positive impact or desirable outcome of the use of a medical device on the health of an individual, or a positive impact on patient management or public health.

Harm

Physical injury or damage to the health of people, or damage to property or the environment.

Hazard

Potential source of harm.

Hazardous Situation

Circumstance in which people, property, or the environment is/are exposed to one or more hazards.

Intended Use

Use for which a product, process, or service is intended according to the specifications, instructions, and information provided by the manufacturer.

Life Cycle

Series of all phases in the life of a medical device, from initial conception to final decommissioning and disposal.

Manufacturer

Natural or legal person with responsibility for the design and/or manufacture of a medical device with the intention of making it available for use under their name.

Post-Production

Part of the life cycle after the design has been completed and the device has been manufactured.

Reasonably Foreseeable Misuse

Use of a product in a way not intended by the manufacturer but which can result from readily predictable human behaviour.

Residual Risk

Risk remaining after risk control measures have been implemented.

Risk

Combination of the probability of occurrence of harm and the severity of that harm.

Risk Analysis

Systematic use of available information to identify hazards and estimate the risk.

Risk Assessment

Overall process comprising risk analysis and risk evaluation.

Risk Control

Process in which decisions are made and measures implemented by which risks are reduced to, or maintained within, specified levels.

Risk Evaluation

Process of comparing the estimated risk against given risk criteria to determine the acceptability of the risk.

Risk Management

Systematic application of management policies, procedures, and practices to the tasks of analysing, evaluating, controlling, and monitoring risk.

Risk Management File

Set of records and other documents that are produced by the risk management process.

Safety

Freedom from unacceptable risk.

Severity

Measure of the possible consequences of a hazard.

State of the Art

Developed stage of technical capability at a given time regarding products, processes, and services, based on relevant consolidated findings of science, technology, and experience.

Top Management

Person or group of people who direct and control an organization at the highest level.

Use Error

User action or lack of user action while using the medical device that leads to a result different from that intended by the manufacturer or expected by the user.

Verification

Confirmation, through the provision of objective evidence, that specified requirements have been fulfilled.

# 6. General Requirements for Risk Management System

## 6.1 Risk Management Process

The organization has established, documented, and maintains a risk management process throughout the life cycle of the device, in accordance with ISO 14971. This process includes:

- Risk analysis

- Risk evaluation

- Risk control

- Evaluation of overall residual risk acceptability

- Risk management review

- Production and post-production information collection and review

## 6.2 Management Responsibilities

Top management ensures adequate resources (personnel, equipment, and methods) are provided so that the risk management process is effective. Personnel involved in risk management are competent based on education, training, skills, and experience relevant to the device and to ISO 14971.

## 6.3 Competence of Personnel

The following roles participate in the risk management process. Qualifications, experience, and responsibilities should be defined for each role.

| Sr. No. | Position | Qualification | Min. Experience Required | Competence | Responsibility | Expertise |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | [Position] | [Qualification] | [Years] | [Relevant knowledge areas] | [Responsibilities in RM process] | [Relevant expertise] |

## 6.4 Risk Management Team

The following personnel are members of the risk management team for this device:

| Sr. No. | Name | Designation | Role in Risk Management Team |
| --- | --- | --- | --- |
| 1 | [Name] | [Designation] | [Role] |

## 6.5 Risk Management Plan

The risk management plan includes the following elements:

- Scope of the planned risk management activities, identifying and describing the device and the life-cycle phases to which each element of the plan applies

- Assignment of responsibilities and authorities

- Requirements for review of risk management activities

- Criteria for risk acceptability, including criteria for accepting risks when the probability of occurrence cannot be estimated

- Method to evaluate overall residual risk and acceptability criteria

- Activities for verification of implementation and effectiveness of risk control measures

- Activities related to collection and review of production and post-production information

### a) Scope of Planned Risk Management Activities

| Field | Details |
| --- | --- |
| Name of Device Under Evaluation | [Device Name] |
| Device Category | [Category] |
| Classification | [Risk Class] |
| Intended Purpose and Indications | [Description] |
| Tissue and Part of Body | [Description] |
| Intended Patient Population | [Description] |
| Intended User | [Description] |
| Use Environment | [Description] |
| Operating Principle | [Description] |

### b) Assignment of Responsibilities Across Life-Cycle Phases

| Sr. No. | Phase of Device Life Cycle | Responsibilities and Authorities | Review Requirements | Criteria for Risk Acceptability | Verification Activities | Remarks | Management Review Frequency |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | [Phase] | [Responsible role] | [Requirement] | [Criteria] | [Activity] | [Remarks] | [Frequency] |

## 6.6 Risk Acceptability Criteria

### 6.6.1 Consequence Severity Levels

| Consequence of Severity | Severity Level | Definition |
| --- | --- | --- |
| Negligible | S1 | Inconvenience or temporary discomfort |
| Marginal | S2 | Temporary injury or impairment not requiring major medical intervention |
| Critical | S3 | Permanent impairment or life-threatening injury |
| Serious | S4 | Injury or impairment requiring medical intervention |
| Catastrophic | S5 | Life-threatening injury or death |

### 6.6.2 Probability of Occurrence Levels

| Probability of Occurrence | Probability (Numeric) | Level | Description |
| --- | --- | --- | --- |
| Improbable | < 10⁻⁶ | O-1 | Negligible possibility of occurrence under normal conditions |
| Remote | ≥ 10⁻⁶ to < 10⁻⁵ | O-2 | Unlikely to happen; rare |
| Occasional | ≥ 10⁻⁵ to < 10⁻⁴ | O-3 | Can happen, but infrequently |
| Probable | ≥ 10⁻⁴ to < 10⁻³ | O-4 | Likely to happen |
| Frequent | ≥ 10⁻³ | O-5 | High probability of occurrence |

Acceptability of the Risk:

Risk rating is calculated by multiplying the probability of occurrence level against the severity level. The resulting rating is compared against the risk acceptability matrix below to determine the region of acceptability.

### Risk Acceptability Matrix

| Probability \ Severity | S-1 | S-2 | S-3 | S-4 | S-5 |
| --- | --- | --- | --- | --- | --- |
| O-5 | 5 | 10 | 15 | 20 | 25 |
| O-4 | 4 | 8 | 12 | 16 | 20 |
| O-3 | 3 | 6 | 9 | 12 | 15 |
| O-2 | 2 | 4 | 6 | 8 | 10 |
| O-1 | 1 | 2 | 3 | 4 | 5 |

### Indication Criteria and Acceptance Criteria

| Risk Rating Range | Risk Description | Justification |
| --- | --- | --- |
| 8 to 25 | Unacceptable | Cannot be accepted; risk control measures must reduce the rating to As Far As Possible (AFAP) or Broadly Acceptable for the risk to be accepted. |
| 4 to 6 | As Far As Possible (AFAP) | Not acceptable as-is; further risk control and/or benefit-risk analysis is required to justify acceptance. |
| 1 to 3 | Broadly Acceptable | Acceptable as-is. |

The following factors should be considered when establishing risk acceptability criteria:

- Applicable regulatory requirements in the regions where the device is to be marketed

- Relevant international standards for the type of device, including test methods and acceptance limits

- Generally acknowledged state of the art, based on comparable devices and published literature

- Known stakeholder concerns identified through literature review, usability studies, or post-market feedback

## 6.7 Review and Verification of Risk Management Activities

[Describe how and when the risk management activities are reviewed and verified, who conducts the review, and how verification evidence is documented and retained.]

## 6.8 Risk Management File

The Risk Management File is compiled to demonstrate traceability for each identified hazard to:

- The risk analysis

- The risk evaluation

- The implementation and verification of risk control measures

- The assessment of residual risk acceptability

The Risk Management File may consist of, or reference, other documents and records rather than containing them directly.

# 7. Risk Analysis

## 7.1 Risk Analysis Process

The risk analysis process includes the following elements:

### a) Identification and Description of Device

[Provide the device description as referenced in Section 3 / Section 6.5(a).]

### b) Introduction to the Device

[Reference Section 3.1]

### c) Types of Device and Their Application

[Reference Section 3.2]

### d) Accessories and Augments

[Reference Section 3.3]

### e) Materials Considerations

[Reference Section 3.4]

### f) Conclusion

[Summarize the outcome of the risk analysis and note any conclusions relevant to subsequent risk evaluation and control.]

# 8. Identification of Person(s) and Organization that Carried Out Risk Analysis

As per Section 6.3 and 6.4 of this document.

## 8.1 Scope of Risk Analysis

[Describe the scope of the risk analysis: which devices/variants are covered, and the objective — to identify and evaluate risks, verify implemented risk control measures, assess whether risks are acceptable, whether risk-benefit is favorable, and what residual risk monitoring is exercised.]

Date of Completion of Risk Analysis: [Date]

## 8.2 Intended Use and Reasonably Foreseeable Misuse

For intended use, refer to Section 6.5(a).

Reasonably foreseeable misuse may include (illustrative categories — replace with device-specific misuse scenarios):

- [Category of misuse, e.g., incorrect handling, non-compliance with instructions for use]

- [Category of misuse, e.g., use outside the specified operating parameters]

- [Category of misuse, e.g., inadequate training of the user]

## 8.3 Identification of Characteristics Related to Safety

[List the qualitative and quantitative characteristics of the device that could have a bearing on safety — e.g., materials, energy sources, use environment, sterility, human factors, etc. This is typically compiled using a checklist approach, such as Annex A/C of ISO 14971.]

## 8.4 Identification of Hazards and Hazardous Situations

The identification of hazards includes foreseeable hazards associated with the device under both normal and fault conditions.

| Characteristics Identification | Type of Hazard | Identification of Known or Foreseeable Hazard | Consequence of Harm | Probability of Occurrence |
| --- | --- | --- | --- | --- |
| [Intended use / characteristic] | [e.g., Biological, Mechanical, Chemical, Electrical, Use-related] | [Hazard description] | S-[1-5] | O-[1-5] |

[Template guidance: Repeat one row per identified hazard/hazardous situation. Assign a unique Sr. No. (e.g. 01a, 01b) to each row for traceability into the risk control table in Section 10.]

## 8.5 Risk Estimation

[For each hazardous situation identified above, estimate the risk by combining the assigned severity level and probability of occurrence level, per the criteria in Section 6.6.]

# 9. Risk Evaluation

For each identified hazardous situation, the estimated risk is evaluated against the risk acceptability criteria defined in Section 6.6 to determine whether:

- The risk falls within the Broadly Acceptable region and requires no further action, or

- The risk falls within the As Far As Possible (AFAP) region and warrants further risk reduction / benefit-risk justification, or

- The risk falls within the Unacceptable region and requires risk control measures before the device can be considered acceptable.

# 10. Risk Control

## 10.1 Risk Control Option Analysis

For each unacceptable or AFAP risk, one or more of the following risk control options are considered, in the order of priority established by ISO 14971:

- Inherent safety by design

- Protective measures in the device itself or in the manufacturing process

- Information for safety (e.g., labelling, instructions for use, training)

## 10.2 Implementation of Risk Control Measures

Identified risk control measures are implemented, and their effectiveness is verified and recorded. Risk control measures may include, for example:

- Verification of design and development

- Process qualification

- Process validation (for processes requiring validation)

- Tests and simulation studies

- Application of relevant international product-safety standards

The table below is used to document the full risk control record for each identified hazard, from initial risk rating through residual risk acceptance.

| Sr. No. | Risk / Hazard Identification | Possible Cause | Severity | Probability | Risk Rating (Before) | Risk Acceptance (Before) | Risk Evaluation / Acceptability Decision | Risk Control Option | Implementation of Risk Control | Residual Severity | Residual Probability | Risk Rating (After) | Residual Risk Acceptance | Further Control Measures |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| [e.g. 01a] | [Hazard / hazardous situation] | [Root cause] | S-[1-5] | O-[1-5] | [Value] | [Acceptable / AFAP / Unacceptable] | [Rationale for decision] | [Design / Protective / Information] | [Specific control implemented, with reference to SOP/procedure] | S-[1-5] | O-[1-5] | [Value] | [Acceptable / AFAP] | [Further action if any] |

[Template guidance: Add one row per identified hazard, using the same Sr. No. assigned in Section 8.4, so that each hazard is traceable end-to-end.]

## 10.3 Residual Risk Evaluation

[After implementation of risk control measures, evaluate whether the residual risk for each hazardous situation is acceptable according to the criteria in Section 6.6.]

## 10.4 Benefit-Risk Analysis

[Where residual risk is not judged broadly acceptable, document the benefit-risk analysis comparing the clinical benefits of the device against the residual risks, referencing relevant clinical literature, standards, or state of the art.]

## 10.5 Risk Arising from Risk Control Measures

[Evaluate whether the implementation of any risk control measure introduces new hazards or increases other existing risks. Document the assessment and any additional controls required.]

## 10.6 Completeness of Risk Control

[Confirm that all identified hazards and hazardous situations have been addressed, that risk control measures have been implemented and verified, and that no additional hazards remain unaddressed.]

# 11. Evaluation of Overall Residual Risk

The overall residual risk, considering all individual residual risks in combination, is evaluated against the risk acceptability criteria. The distribution of hazards across the risk matrix is summarized before and after implementation of risk control measures.

### Before Risk Control

| Probability \ Severity | S-1 | S-2 | S-3 | S-4 | S-5 |
| --- | --- | --- | --- | --- | --- |
| O-5 |  |  |  |  |  |
| O-4 |  |  |  |  |  |
| O-3 |  |  |  |  |  |
| O-2 |  |  |  |  |  |
| O-1 |  |  |  |  |  |

### After Risk Control

| Probability \ Severity | S-1 | S-2 | S-3 | S-4 | S-5 |
| --- | --- | --- | --- | --- | --- |
| O-5 |  |  |  |  |  |
| O-4 |  |  |  |  |  |
| O-3 |  |  |  |  |  |
| O-2 |  |  |  |  |  |
| O-1 |  |  |  |  |  |

[Template guidance: Populate each matrix cell with the Sr. No. of every hazard whose severity/probability combination falls in that cell, so the shift in risk distribution after controls is visible at a glance.]

Conclusion: [State the overall conclusion — e.g., whether the device has been found acceptable for its intended use following implementation of risk control measures, and what ongoing monitoring will continue (e.g., post-market surveillance) to verify effectiveness of controls.]

# 12. Risk Management Review

The following questions are considered as part of the risk management review:

Q — Has the Risk Management Plan been appropriately implemented?

Response: [Answer]

Q — Are the overall residual risks acceptable?

Response: [Answer]

Q — Are appropriate methods in place to obtain relevant production and post-production information?

Response: [Answer]

Risk Management Report and Results: [Summarize the outcome of the review, referencing the before/after matrices in Section 11.]

# 13. Production and Post-Production Activities

## 13.1 General

[Describe the batch/production records maintained to demonstrate conformance of manufactured devices to specification.]

## 13.2 Information Collection

A system is established and maintained to collect and review information about the device, or similar devices, in the production and post-production phase, including:

- Procedure for Post-Market Surveillance (PMS)

- Procedure for Customer Feedback and Complaints

- Procedure for Medical Device Vigilance

- Procedure for Gaining Experience from the Post-Production Phase

- Procedure for Post-Market Clinical Follow-up (PMCF), where applicable

## 13.3 Information Review

- Information generated by users/operators about device use is reviewed as relevant

- New or revised standards and regulations that may affect product conformity are monitored

- Information is reviewed to identify previously unrecognized hazards or hazardous situations

- Previously estimated risks are reassessed for continued acceptability

- A systematic review of relevant public-domain databases and literature is performed as part of this monitoring

## 13.4 Actions

Following review of the gathered data, at minimum during management review, the following are assessed:

- Previously implemented risk management activities (as input to the risk management process)

- Whether the acceptability of residual risk has changed, and the impact on previously implemented risk control measures

- Results of the review are reported in the Risk Management File

Conclusion: [State the overall conclusion of the risk management file, confirming the device has been evaluated against identified risks and found suitable for its intended use following implementation of risk control measures, and that post-market surveillance will continue to verify ongoing effectiveness.]