TECHNICAL DOCUMENTATION INDEX / STED TEMPLATE

Aligned with IMDRF STED & CDSCO MDR 2017 Requirements
Document ID: TD-STED-IDX-01 | Rev: 1.0

1. Device Metadata

| Manufacturer Name: | [Full legal manufacturer name and facility site address] |
| --- | --- |
| Device Name / Model: | [Commercial Name, Model variations, and configurations included] |
| CDSCO Classification: | ☐ Class A ☐ Class B ☐ Class C ☐ Class D (Rule Index: [e.g., Rule 1]) |
| GMDN / UDI-DI Code: | [Global Medical Device Nomenclature Code and Basic UDI-DI if applicable] |

2. STED Technical File Structure Index

| STED Section | Technical Content Description | File Reference / ID | Compliance Status |
| --- | --- | --- | --- |
| 1. Device Description | Device description, specifications, variants, accessories, and engineering diagrams. | [Doc-Ref-01] | ☐ Complete ☐ Pending |
| 2. Labelling & IFU | Draft package labels, outer box layout, Instructions for Use (IFU) in English/Hindi. | [Doc-Ref-02] | ☐ Complete ☐ Pending |
| 3. Design & Manufacture | Manufacturing process flow, raw material specifications, QA validation protocols, and site certifications. | [Doc-Ref-03] | ☐ Complete ☐ Pending |
| 4. Essential Principles | Full checklist matrix demonstrating compliance with Essential Principles of Safety & Performance. | [Doc-Ref-04] | ☐ Complete ☐ Pending |
| 5. Risk Management | Risk Management Plan and Risk Analysis Report complying with ISO 14971 framework. | [Doc-Ref-05] | ☐ Complete ☐ Pending |
| 6. Verification & Validation | Biocompatibility (ISO 10993), Electrical Safety (IEC 60601), Sterilization validation, Shelf-life studies. | [Doc-Ref-06] | ☐ Complete ☐ Pending |
| 7. Clinical Evaluation | Clinical Evaluation Report (CER), literature review, clinical trial data (if Class C/D under CDSCO). | [Doc-Ref-07] | ☐ Complete ☐ Pending |